## Chain of Custody Instructions
Instructions for the Proper Completion of the Analysis Lab COC Form (located on the second tab of this Excel Document)
****Please do not modify the COC Form template by inserting/deleting columns or rows, or in any other way.****
1. Fill out Name/Address/Phone Info only in the shaded section in column E of the form. The shaded portion of column M is for the analysis laboratory only.
2. For Sample IDs use a unique number for each sample and blank. (for example if you plan to collect samples 001 -004 on three different weeks they must be identified like the following: 001-Week 1, or 001-Set 1, etc.).
3. For Start/Stop Dates please fill in as follows: Month Day, 4 digit year (i.e. February 13, 2013) or MM/DD/YYYY
4. Enter start times exactly as follows: two digits for the hour, colon, two digits for the minutes (i.e. 09:00, 14:30, 12:01, etc. (using a 24 hour clock).
5. Enter stop times as described for start times.
6. Using the drop-down list, mark an “X” for the analysis that needs to be done for each sample. Please note that a NOx analysis requires an accompanying NO2 analysis, and the two samples must have the same sample ID so that the NOx sample analysis result can be matched with the correct NO2 analysis result. In this case, place an "X" in the correct cell in column H. If only an NO2 analysis is requested, mark an "X" in the correct cell in column G.
7. Enter the average temperature (in degrees Celsius) and the average relative humidity over the sample exposure duration.
8. When entering the field data, if you do not have site-specific temperature and relative humidity data, please leave those columns blank, in which case, we will use a default temperature (25 C) and relative humidity (70%) for calculations.
9. For blanks, mark an "X" in the correct cell in column B only for samples that are to be used as blanks. A blank (or control) is an Ogawa sampler that has been loaded with the same pad(s) as the samplers to be exposed. It accompanies the samplers to the field so it is subject to the same temperatures and conditions as the others, but the blank sampler is not opened. If blank samples are available, but no instruction is provided on which blank to use for which sample, we will use an average of all blanks to blank-correct the sample loadings. Group together the samples that use a common set of blanks using separate COC forms.
10. It is highly recommended that each sample set contain at least one blank for each type of analysis to be performed. If no blanks are provided, the calculated atmospheric concentrations cannot be blank-corrected.
Conditions that Must be Met Before the Analysis Laboratory Can Perform Work on Your Samples
Please note, before the analysis laboratory can perform any work on your samples, all of the following three conditions must occur: 1. Before shipping samples, the Sample Submitter must send an email to Tracy Dombek (tdombek@rti.org) and Suzanne Schaeffer (suzanne@ogawausa.com) with: (a) a complete and accurate version of this COC Form which corresponds with the samples that the Sample Submitter intends to ship, (b) the Sample Submitter’s contact information (e.g., contact person name, entity name, phone number, etc.); and (c) the date that the Sample Submitter intends to ship the samples to the analysis laboratory, so that the analysis laboratory can have advance notice of upcoming shipments. 2. The Sample Submitter must ship the samples to: RTI International Attn: Tracy Dombek 3040 East Cornwallis Road Building 6 Research Triangle Park, NC 27709 AND 3. The analysis laboratory must receive a signed copy of a Material Release Order Form ("MRO Form") from Ogawa to authorize the analysis laboratory to commence work on the Sample Submitter's samples referenced in such MRO form.
Shipping Rules and Requirements for Sample Submitters
A. Ogawa, or the Sample Submitter, must submit any requests for sampler washing, loading and shipping to the analysis laboratory at least five (5) business days prior to their desired shipping date. B. Ogawa, or the Sample Submitter, will provide the analysis laboratory with a FedEx or UPS account number for all shipping to be performed by the analysis laboratory. C. The analysis laboratory will only use Ogawa’s, or the Sample Submitter’s, FedEx or UPS account number for shipments. The analysis laboratory will not use Ogawa’s, or a Sample Submitter’s, shipping system (e.g., CampusShip, etc.) which requires the analysis laboratory to log in with a password and enter sample IDs, shipping information, and other data into a shipping system. D. If Ogawa, or the Sample Submitter, requests loading and shipping of samplers to multiple addresses, the analysis laboratory will charge a surcharge of $10.50 for each additional address if the shipment to that address contains fewer than twenty (20) samplers. E. The analysis laboratory will also charge a surcharge of $10.50 for each additional box if the analysis laboratory must ship more than one (1) box to the same address. (This surcharge covers the cost of the additional shipping materials, the time to carefully package the samplers, and the time to prepare the shipping labels.)
Important Information regarding the Data Report that will be provided to the Sample Submitter After the Analysis
A. Upon completion of its work, the analysis laboratory will email the Sample Submitter and Ogawa a data report in an Excel spreadsheet format (the “Data Report”) including the analyzed mass loadings of the respective species on the passive samplers based on the analyses ordered on the Sample Submitter’s COC Form. B. In its Data Report, the analysis laboratory will also provide calculations of ambient concentrations in parts per billion (ppb) of the gases, if and only if the Sample Submitter accurately and completely fills out the COC Form and sends the completed COC Form via email as instructed above. C. If the Sample Submitter does not provide an accurate and complete COC Form via email as instructed above, the analysis laboratory will only report the collection pad loadings, in ug or ng of analyte per sample (ozone as nitrate ion; NO2 as nitrite ion; NOx as nitrite ion; NH3 as ammonium ion; and SO2 as sulfate ion) in the Data Report. Field and laboratory blank loadings will be reported in the Data Report, but no blank corrections or other calculations will be performed. D. Ogawa will assist the Sample Submitters in accurately completing the COC Form in accordance with these instructions provided in this “Chain of Custody Instructions” tab. The analysis laboratory will offer first-time Sample Submitters a one-time assistance with completing the COC Form. However, the analysis laboratory will not provide such assistance to Ogawa or Sample Submitters other than first-time Sample Submitters. E. Please note the following restrictions: 1. The analysis laboratory will not perform manual data entry from a hard copy COC Form accompanying the sample shipment; 2. The analysis laboratory will not perform calculations of ambient concentrations from incomplete or inaccurate electronic COC Forms; and 3. The analysis laboratory will not attempt to match samples received with a COC Form when the sample IDs on the samples do not match exactly with the sample IDs provided in the COC Form. F. The analysis laboratory will use default temperature and relative humidity for the ambient concentration calculations if the Sample Submitter’s COC Form is missing meteorological data. G. The analysis laboratory will calculate blank-corrected ambient concentrations by using an average of all samples marked as blanks. If Sample Submitters have special requests, such as using different blanks, the Sample Submitter will split each batch into sub-batches containing the respective samples and blanks before the analysis laboratory performs the calculations of ambient concentrations.

## Analysis Lab COC Form
Field1 | Field2 | Field3 | Field4 | Field5 | Field6 | Field7 | Field8 | Field9 | Field10 | Field11 | Field12 | Field13 | Field14
Project Name: | [8 empty] | For Analysis Lab Use Only
Person/Company/Client Name: | [8 empty] | Date Received at Lab:
Address: | [8 empty] | Person Logging in Samples:
Phone:
E-mail:
Date Shipped:
Place 'X' in cell for each species needed
Sample ID | Use As Blank | Start Date | Start Time | Stop Date | Stop Time | NO2 | NOx (+ NO2) | NH3 | SO2 | O3 | Average Temperature (°C) | Average Relative Humidity (%) | Comments
Note on L9: Required for NO2, NOx, and SO2
Note on M9: Required for NO2 and NOx only

## Drop-down Options (hidden)
Select species to analyze | x